## Multimode Mode
LSPM Multi-mode Fibre Reporting Sheet
Customer | [6 empty] | Cable Manufacturer
Site | [6 empty] | Part Number
Installer
Cable Identifier | [5 empty] | Test Equipment
Cable length in metres (m) | [5 empty] | Tester Type/Model
Test Date | [5 empty] | Tester Calibrated Status
Light Source Serial Number
Referencing Method |  |  |  |  | Channel/Link Components | Power Meter Serial Number
One Patch Cord |  |  |  |  | Interface Connectors | Encircled Flux Manufacturer
Three Patch Cord |  |  |  |  | Additional Mated Connectors | Encircled Flux Serial Number
Reference Cord Used |  |  |  |  | Number of Splices | Reference Cord Manufacturer (Non E-F)
Reference Cord Serial number (Non E-F)
Testing Officer |  |  |  |  | Fibre Performance Level
[5 empty] | Unknown |  | Fibre Channel/Link (enter 1) |  | Light Budget-Link/Component
Propagation Delay (ns) |  |  | 0 |  | OM1 |  | Permanent Link |  | Wavelength 850
[5 empty] | OM2 |  | OF300 Channel |  | Wavelength 1300
Test Standard |  | ISO/IEC 14763.3 |  |  | OM3 |  | OF500 Channel
[5 empty] | OM4 |  | OF2000 Channel |  | Light Budget-Channel-Table
Connector Type | [8 empty] | Channel 850nm | 0
A |  | B |  |  |  |  | Cable |  | Channel 1300 nm | 0
[5 empty] | Cross over installed |  | Core Size | 50um
Reference |  |  |  |  | Yes |  |  | 62.5um | Measurement Uncertainty
Main | 850 | 0.0009 | 1300 | 0.0009 | No |  | Number of Cores |  | From Referencing | nil
Remote | 850 | 0.0009 | 1300 | 0.0009 |  |  |  |  | From Test Configuration | nil
Please Note:-
This sheet supports documentation requirements specified within AS/NZS ISO/IEC 14763.3 and ISO/IEC 14763.3.
For the purpose of this report;
There is -0.05dB measurement uncertainty associated with a one (1) cord jumper reference method when testing Multi-mode.
There is no measurement uncertainty associated with referencing when using a one (1) cord jumper reference method.
There is -0.2dB measurement uncertainty associated with a three (3) cord jumper reference method when testing Multi-mode.
The measurement uncertainty stated includes measurement uncertainty associated with the test equipment.
The measurement uncertainty is based on assumptions of the connector types and test equipment used.
More accurate measurement uncertainty calculations could be determined based on more detailed information on test equipment and test cords.
All test data will be assessed against AS/NZS ISO/IEC 14763.3 (AS/NZS3080) and ISO/IEC 14763.3 unless requested in writing.